## Slide 1: 2025 Regulatory Update
July 7, 2025
Bailey Davis
Chief of Field Operations
Robert D. Edelman, PE
Director, Division of Technical Services
1

## Slide 2: Outline
2
Distinguish between: “laws,” “regulations,” and “policy”
Waterworks Regulations
Unregulated Contaminant Monitoring Rule 5
PFAS Rule
Lead & Copper Rule Revisions – Lead & Copper Rule Improvements
New Reporting Rule
Consumer Confidence Rule
Other Rules

## Slide 3: 1. Laws, Regulations, and Policy
3
“Laws”
  Passed by the legislature, signed by the Governor, President – generally covey powers, tell us what to do
“Regulations”
  Established by executive branch agencies – generally tell us how to implement laws
“Policies”
  Established by executive branch agencies – provide additional details on how to consistently implement regulations
  Not enforceable
Notes: Laws are passed by the Virginia General Assembly or Congress, then signed by the Governor or President.
Safe Drinking Water Act – Passed and amended by Congress
Public Water Supplies Law – Passed and amended by the Virginia General Assembly

## Slide 4: Virginia – Drinking Water Program: “Public Water Supplies Law”
4
Health – Title 32.1 of the Code of Virginia
Chapter 6 – Environmental Health Services
Article 2 – Public Water Supplies
Section (“§”) 170 – Regulations
The regulations of the Board governing waterworks … shall be designed to protect the public health and … may include, without limitation:
  Requirements and procedures for the issuance of permits required by this article; …
4. Criteria for the siting, design, and construction of water supplies and waterworks; …
Va. Code §§ 32.1-167 through 32.1-176
Notes: Virginia’s Public Drinking Water Program is enabled by the Public Water Supplies Law

## Slide 5: Virginia - Public Water Supplies Law
https://law.lis.virginia.gov/vacode/title32.1/

## Slide 6: Federal – Safe Drinking Water Act
Safe Drinking Water Act (of 1974)
  Public Law (Pub.L.) 93-523
  SDWA § 1401 (Definitions)
  Amended in 1986, 1996, 2005, 2011, 2015, 2016, 2018
Codified in the United States Code
  Title 42, Section 300f. (42 U.S.C. § 300f)

## Slide 7: Federal – Safe Drinking Water Act
https://www.epa.gov/sdwa

## Slide 8: Federal Regulations
Code of Federal Regulations
  Title (40 Protection of Environment)
  Part (141 National Primary Drinking Water Regulations)
  Section (2 Definitions)
  40 C.F.R. § 141.2
  PART 142 — National Primary Drinking Water Regulations Implementation
  PART 143 — National Secondary Drinking Water Regulations
  For Virginia to obtain and maintain primary enforcement responsibility, its regulations must be “no less stringent” than the regulations promulgated by EPA

## Slide 9: Code of Federal Regulations
https://www.ecfr.gov/cgi-bin/ECFR?page=browse

## Slide 10: Virginia Regulations
Virginia Administrative Code (VAC)
  Title (12 Health)
  Agency (5 Department of Health)
  Chapter (590 Waterworks Regulations)
  Section (10 Definitions)
Virginia Waterworks Regulations
12VAC5-590-10 through 12VAC5-590-1235

## Slide 11: Waterworks Regulations
https://law.lis.virginia.gov/admincode/title12/agency5/chapter590/

## Slide 12: Policy (Guidance Documents)
Virginia Regulatory Town Hall
Old – Working Memos
  WTR-896(W) Permits & Project Review – Policy for Issuing Operation Permits (9/4/2014)
  “Clarifies ODW authority and policy for issuing Waterworks Operation Permits… the sub-classifications of noncommunity water systems... also provides guidance on reliability requirements, grandparented waterworks, etc.
New – Manuals
  WTR-2020-01 (W) Project Review & Permit Procedures Manual (12/31/2020)
  Provides details to implement 12VAC5-590-190 through 320

## Slide 13: Project Review & Permit Procedures Manual
https://townhall.virginia.gov/L/ViewGDoc.cfm?gdid=6949

## Slide 14: Amendments to the Waterworks Regulations (12VAC5-590)
Process:
Virginia Administrative Process Act (a law)
  Establishes the process boards/agencies follow to create regulations… key – giving the public access to the process … public review and comment
Two primary methods ODW follows:
  Exempt Action
  Standard regulatory process

## Slide 15: Standard Regulatory Process
Administrative Process Act (APA)
Notice of Intended Regulatory Action (NOIRA)
Proposed Regulation
Final Regulation
4. Adoption

## Slide 16: Exempt Actions
Va. Code § 2.2-4006. Exemptions from requirements of the Administrative Process Act.
A. The following agency actions … shall be exempted from the operation of this article:
4. Regulations that are:
c. Necessary to meet the requirements of federal law or regulations, provided such regulations do not differ materially from those required by federal law or regulation, and the Registrar has so determined in writing.
Exempt Actions are usually published in the final form
Notes: Virginia is preparing to add the new Federal regulations (LCRI, PFAS, CCR3) to the Waterworks Regulations by Exempt Actions.

## Slide 17: Exempt & Standard Actions - Examples
Exempt Actions - Examples
RTCR – November 2016 CCR – March 2012
GWR – December 2011
Disinfection Byproducts – December 2008
Next up… LCRR, CCR, PFAS
Standard Actions - Examples
Fee Regulation changes
Permitting requirements & procedures
Enforcement
Waterworks design – water source, distribution system, storage, pumping, treatment, etc.

## Slide 18: Unregulated Contaminant Monitoring Rule 5
Final UCMR 5 was published 27 Dec 2021
What’s included:
Lithium
29 separate PFAS chemicals
  25 by EPA Method 533
  4 more by EPA Method 537.1
This is all Assessment Monitoring (no Screening or Pre-Screening)

## Slide 19: Where do the UCMRs fit in?
From Steve Via, “Regulatory Update”, AWWA webinar, Dec 2016

## Slide 20: UCMR 5 – Who’s covered?
From EPA, “UCMR 5 Public Meeting and Webinar”, July 2019

## Slide 21: UCMR 5 – Timeline
From EPA “UCMR 5 Public Meeting & Webinar”, July 2019

## Slide 22: EPA Announces Final PFAS Rule – April 10, 2024
Chemical | Maximum Contaminant Level Goal (MCLG) | Maximum Contaminant Level (MCL)
PFOA | 0 | 4.0 ppt
PFOS | 0 | 4.0 ppt
PFHxS | 10 ppt | 10 ppt
HFPO-DA (GenX chemicals) | 10 ppt | 10 ppt
PFNA | 10 ppt | 10 ppt
Mixture of two or more: PFHxS, PFNA, HFPO-DA, and PFBS | Hazard Index of 1 | Hazard Index of 1
*Compliance is determined by running annual averages at the sampling point
Maximum Contaminant Level Goal (MCLG): a public health goal calculated within reason
Maximum Contaminant Level (MCL): Legally enforceable regulation
ppt = parts per trillion
Notes: Background:
PFOA – perfluorooctanoic acid; PFOS – perfluorooctanesulfonic acid; PFHxS – Perfluorohexanesulfonic acid; HFPO-DA – Hexafluoropropylene oxide dimer acid; PFNA – perfluorononanoic acid; PFBS – perfluorobutanesulfonic acid
PFAS are widely used, long lasting chemicals, components of which break down very slowly over time.
Because of their widespread use and their persistence in the environment, many PFAS are found in the blood of people and animals. PFAS are found at low levels in a variety of food products and in the environment.
Scientific studies have shown that exposure to some PFAS in the environment may be linked to harmful health effects. Over a long time PFAS may:  Lead to negative health effects on pregnant people and in developing babies  Weaken a body’s ability to fight disease  An increased risk for some cancers, liver damage  Elevated cholesterol levels (which can increase the risk for heart attack or stroke).
PFAS can enter drinking water in many ways, including discharges to rivers and lakes from manufacturing and processing facilities, as well as during industrial and commercial use. Areas can also be exposed due to proximity to industrial sites, airports, military installations, and other sites where PFAS have been produced or used. Drinking water is one of several ways people may be exposed to PFAS
There are thousands of PFAS chemicals, and they are found in many different consumer, commercial, and industrial products.
Slide Specific
On April 10, 2024, EPA announced the final National Primary Drinking Water Regulation (NPDWR) for six PFAS compounds.
One compound, perfluorobutane sulfonic acid (PFBS), does not have an individual MCL but is used to calculate Hazard Index exceedences.
If the Hazard Index (HI) equals 1 or greater or the MCL is exceeded, then the community water system must take action to reduce the contaminant in drinking water. This index is calculated by adding 2 or more of the compounds listed under Hazard Index on this chart and dividing by 10 ppt.

## Slide 23
To be completed by April 27, 2027:
Initial monitoring – currently happening
Starting three years following rule promulgation (2027 – 2029):
Results of initial monitoring must be shared with the public
Regular monitoring for compliance must begin
Public notification for monitoring and testing violations
Starting five years following rule promulgation (starting 2029)
Comply with all MCLs
Public notification for MCL violations
Implementation: Timeframes for Water Systems
Notes: Starting in 2027, semi-Annual water quality reports called consumer confidence reports must be distributed if the waterworks serves more than 10,000 people. Until then, annual reporting is required.

## Slide 24: Initial Monitoring – Due by April 27, 2027
States can allow systems to use previously collected monitoring data:
EPA Methods 533 or 537.1
As part of UCMR 5
State monitoring
Data to be reviewed and approved on a case-by-case basis
VDH has developed guidance for laboratory reporting through CMDP
Guidance will be updated and posted based on recent EPA decision
Notes: Monitoring under the current rule depends on water source and population size.

## Slide 25: Federal PFAS Litigation & Timeline
April 26, 2024
EPA publishes final PFAS drinking water regulation.
October 7, 2024
AMWA & AWWA file Opening Brief challenging EPA’s PFAS rule.
December 23, 2024
EPA submits Respondents’ Brief defending the rule.
February 7, 2025
EPA requests and is granted a 60-day abeyance (legal pause).
April 10, 2025
Court grants an additional 30-day abeyance.
May 14, 2025
Another 21-day abeyance granted by the court.
June 5, 2025
Court grants a 45-day abeyance, pushing resolution further into 2025.
AWWA - American Water/Wastewater Works Association
AMWA – Association of Metropolitan Water Agencies
EPA – US Environmental Protection Agency
Notes: The outcome of the litigation is unknown and still working through the legal process while US EPA determines its response to the litigation. AMWA and AWWA argue that the EPA did not follow required Safe Drinking Water Act process and the use of best science and data in finalizing the PFAS rule. They wanted more occurrence data. The national organizations seek the court to have EPA revisit its PFAS rule because of the cost concerns in adding new treatment technologies to remove PFAS. AMWA and AWWA argued that utilities would have to invest more than $1 trillion over 25 years to repair and expand treatment and water infrastructure to comply with the PFAS regulations. Ultimately, water systems are passive receivers of PFAS but are being tasked with the cost of PFAS removal.

## Slide 26: 5/14/25 - EPA Announces Changes in the PFAS Rule
Rescind regulations for PFHxS, PFNA, HFPO-DA (Gen-X), and the Hazard Index, which includes PFBS
Regulation of PFOA and PFOS remain unchanged.
Extend Compliance Deadline from 2029 to 2031
Establish a federal exemption framework
Launch the PFAS OUTreach initiative (PFAS OUT) for small and rural communities. Add polluter accountability measures. Enhance technical help.
Notes: EPA cannot waive a magic wand to implement its announcement. There is a regulatory process that must occur. There is an ongoing court process that could affect these initiatives.
ODW has focused it’s activities since the rule was finalized by standing up an internal PFAS rule committee made up by members of the divisions and Field Offices of ODW. There are 6 sub committees focused on projects and areas of rule implementation.
There is a subcommittee focused on communication and stakeholder outreach including website updates, presentations, correspondence as well as media inquiries.
The internal policies and procedures needed to ensure rule compliance by the initial compliance date such as Data acceptance, compliance schedules, and database updates are being developed by the rule implementation subcommittee
Drafting amendments to the VA waterworks regulations and completing a primacy package to allow ODW to oversee VA compliance is the responsibility of the regulatory update subcommittee
DEQ will likely be discussing activities surrounding SB243; suggest a nod to them

## Slide 27: PFAS Data at www.vdh.virginia.gov/drinking-water/pfas
Notes: Here is a map of the PFAS sampling locations throughout Virginia. On this interactive map available on our VDH website, you can click on the sampling location and see the specific results.
The red color markers indicate sampling that showed possible impact from the proposed EPA regulation for PFAS.
Hotspots: Most of the possible impacts based on the sampling today are found in Northern Virginia; but there is also a large population impact in the Newport News area and an instance of GenX exposure near Roanoke that has caused a task force response from DEQ and ODW.

## Slide 28: Lead and Copper Rule Revisions (LCRR) Effective on October 16, 2024
Initial Service Line Inventory
  Submit to State
  Must be made publicly available; for systems serving 50,000 and more - available online
Notification of Service Line Material and associated reporting
Tier 1 public notification for action level exceedance (15 ppb AL until LCRI Compliance Date) and associated reporting
Revised health effects language
Consumer Confidence Reports
Notes: Technical bulletin summarizing requirements set out by email blast and posted on our web site.

## Slide 29: LCRR items that were deferred to LCRI Effective 11/1/2027
Lead action level (10 ppb)
Trigger level and associated requirements
Changes to sample tiers and sample site selection
5th Liter samples in homes with LSLs
Tap sampling frequency
WQPs and monitoring
Corrosion Control Treatment Options
Sanitary surveys must review Corrosion Control Treatment data
Find and Fix
Mandatory LSL replacement requirements
Lead Service Line Replacement Plans & Lead Mitigation (Filters)
Small system flexibility options
Consumer notifications of work that could disturb LSLs
School and child day care sampling program, including list of facilities
Notes: EPA has clarified that these items are NOT moving forward.
Refer the 2021 Waterworks Regulations
Refer to the 2020 version of the National Primary Drinking Water Regulations in the CFR

## Slide 30: Notification of Known or Potential Service Line Containing Lead 40 CFR 141.85(e)
Notification of known or potential service line containing lead:
Lead Service Line
Galvanized Requiring Replacement (GRR) Service Line
Unknown Material Service Line
Due: within 30 days of completion of the inventory (initial)
Frequency: Annual thereafter (calendar year 2025)
New customer: At the time of service initiation
Delivery Method: Mail or another method approved by the State
Community Waterworks: Mail, hand delivery
NTNC Waterworks: Mail, hand delivery, posting
All other methods are approved on a case-by-case basis
Delivery Certification Statement: Available on ODW LCRR Guidance webpage
Due: 30 days following completion (initial inventory) and no later than July 1 (following years) (Due July 1, 2026 for CY 2025)
Frequency: Annual
Attach: Copies of notifications and information materials
New business processes:
Annual notification of customers of lead, GRR, unknown service lines.
New customer notification of lead, GRR, unknown service lines.

## Slide 31: Annual Reporting - Notification of Service Line Materials 40 CFR 141.90(e)(13), 40 CFR 141.90(f)(4)
Annual reporting to the State by July 1 that the system provided notification and delivered lead service line information materials to affected consumers with lead, galvanized requiring replacement, or unknown service lines for the previous calendar year. Water systems shall provide a copy of the notification and information materials to the State.
Delivery Certification Statement: Available on ODW LCRR Guidance webpage
Due: 30 days following completion (initial inventory) and no later than July 1 (following years)
Frequency: Annual
Attach: Copies of notifications and information materials

## Slide 32: Templates Available
EPA Templates
VDH Templates
  Links on VDH LCRR Guidance Webpage
  Templates don’t need ODW approval
  Deviations from templates need ODW approval
VDH ODW LCRR Guidance Webpage
https://www.vdh.virginia.gov/drinking-water/lcrr-guidance/

## Slide 33: Health Effects Language 40 CFR 141.85(a)(a)(ii)
Required language for LSL and Lead Status Unknown SLs
Do not modify this language
Health effects of lead.
Exposure to lead in drinking water can cause serious health effects in all age groups. Infants and children can have decreases in IQ and attention span. Lead exposure can lead to new learning and behavior problems or exacerbate existing learning and behavior problems. The children of women who are exposed to lead before or during pregnancy can have increased risk of these adverse health effects. Adults can have increased risks of heart disease, high blood pressure, kidney or nervous system problems.

## Slide 34: Tier 1 Public Notice – Following a Lead Action Level Exceedance 40 CFR 141.201 (a)(3)(vi)
Deliver to: all persons served by the waterworks
Delivery Method: One or more of the following:
Appropriate broadcast media (e.g., radio and television).
Posting the notice in prominent locations throughout your water system’s service area.
Hand delivery of the notice to all persons served.
Another delivery method approved in writing by the State.

## Slide 35: Tier 1 Public Notification Reporting 40 CFR 141.201 (c)(3)
Effective: October 16, 2024
Applicable to: All community and non-transient noncommunity waterworks
Template: Public Notice template on LCRR Guidance Webpage
Timing: Within the 24 hours after you learn about the lead ALE:
Send a copy of Tier 1 Public Notification to the ODW Field Office, as well as to the EPA via email at: LeadALE@epa.gov.

## Slide 36: Tier 1 Public Notification Reporting Requirements 40 CFR 141.31
Effective: October 16, 2024
Applicable to: All community and non-transient noncommunity waterworks
Template: Certification Statement on LCRR Guidance Webpage
Timing: Within 10 days after completing the public notification requirements:
Send a copy of Tier 1 Public Notification plus Certification Statement to the ODW Field Office.

## Slide 37: LCRR - Consumer Confidence Reports 40 CFR 141.153 (d)(4) Detected contaminants
Applicable to: Community Waterworks
Effective: October 16, 2024
Applies to: Consumer Confidence Report issued in 2025 and beyond
(vi) For lead and copper: the 90th percentile concentration of the most recent round(s) of sampling, the number of sampling sites exceeding the action level, and the range of tap sampling results;
(xi) The report shall include a statement that a service line inventory (including inventories consisting only of a statement that there are no lead service lines) has been prepared and include instructions to access the service line inventory; and
(xii) The report shall notify consumers that complete lead tap sampling data are available for review and shall include information on how to access the data.
NEW
2027
Notes: The CCR requirements are NOT deferred by the LCRI
40 CFR 141.153d(4)(xii) is not effective at this time but was renumbered by the CCR Rule and waterworks must comply with this beginning in 2027.

## Slide 38: LCRR - Consumer Confidence Reports 40 CFR 141.154 (d)(1) Required additional health information
Applicable to: Community Waterworks
Effective: October 16, 2024
Applies to: Consumer Confidence Reports issued in 2025 and beyond
(1) A short informational statement about lead in drinking water and its effects on children. The statement must include the following
information:
Lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily
from materials and components associated with service lines and home plumbing. [NAME OF UTILITY] is responsible for providing
high quality drinking water and removing lead pipes, but cannot control the variety of materials used in plumbing components in
your home. You share the responsibility for protecting yourself and your family from the lead in your home plumbing. You can take
responsibility by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk.
Before drinking tap water, flush your pipes for several minutes by running your tap, taking a shower, doing laundry or a load of
dishes. You can also use a filter certified by an American National Standards Institute accredited certifier to reduce lead in drinking
water. If you are concerned about lead in your water and wish to have your water tested, contact [NAME OF UTILITY and CONTACT
INFORMATION]. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at
http://www.epa.gov/safewater/lead.
Notes: This requirement is NOT deferred by the LCRI

## Slide 39: What should waterworks do to prepare for November 1, 2027?
Continue work on service line inventories:
  Identify unknowns
  Continue gathering SL material information during normal operations
  Identify lead connectors
  Prepare baseline service line inventory – due 11/1/2027
Prepare your Replacement Plan if you have LSLs, GRR or Unknowns
  due 11/1/2027
If you have Lead Service Lines and/or GRR
  Reach out to the DWSRF - Apply for LSL funding
  Talk to your customers
  Make replacements of known LSLs – before 11/1/2027
NEW

## Slide 40: What should waterworks do to prepare for November 1, 2027?
  Prepare for lead sampling in schools and child care centers:
    Prepare list of schools and child care centers in service area.
    Identify excluded schools (Constructed on or after 1/1/2024)
    Identify waived schools (already tested)
    Prepare public outreach materials, begin outreach
  Corrosion Control Treatment:
    Prepare for lead action level of 10 µg/L
    Review CCT performance against operational goals
    Review past lead and copper tap sample results
  Tap Sampling
    Prepare tap sample pool based on new tiers
    Prepare for standard monitoring if LSLs and/or GRR present
    Prepare to offer to sample the tap if any for customer with a LSL, GRR or unknown service line requests it

## Slide 41: Mandatory Reporting of Failures and Malfunctions - 2 Hour Reporting Requirement
Reference:
June 17, 2025 Webinar
VDH Office of Drinking Water

## Slide 42: The New Reporting Law
This is a reporting law. Code of Virginia § 32.1-174.5
Must report to ODW within two hours of discovery:
  A "contaminant release" or "critical equipment failure or malfunction."
Contaminant release:
  "[A]n unplanned or uncontrolled release by a waterworks of a chemical contaminant or petroleum or synthetic oil into the water that is treated by or distributed from the waterworks to customers."
  It "includes any such release at treatment facilities and raw or finished water pump stations."

## Slide 43: The New Reporting Law
A "critical equipment failure or malfunction" is any equipment failure or malfunction that has "significant potential":
  For "serious adverse effects on human health as a result of short-term exposure"; or
  To "cause a widespread disruption of water service."

## Slide 44: The New Reporting Law
Equipment failure:
  An "unplanned condition when the equipment cannot perform or is unable to perform as designed because of a problem with such equipment."
  It does not include a planned removal from service, repair, or maintenance.
Equipment malfunction:
  An "unplanned condition during which the equipment cannot perform or is unable to perform as designed due to a problem originating from outside the waterworks rather than a problem associated or originating with the equipment itself, including an issue with third-party provided gas or electric power feeds or a cyberattack."

## Slide 45: The New Reporting Law
What if the equipment failure or equipment malfunction is not a "critical equipment failure or malfunction"?
  Then it is a "noncritical equipment failure or malfunction"
Noncritical equipment failure or malfunction is reported in the monthly operating report (MOR) if:
  The failure or malfunction could adversely affect water quality, public health, or service continuity; and
  The failure/malfunction has not been resolved by the MOR deadline.
MOR reporting requirement applies to those systems required to submit an MOR.

## Slide 46: The New Reporting Law

## Slide 47: The New Reporting Law

## Slide 48: The New Reporting Law

## Slide 49: The New Reporting Law
Existing regulatory reporting requirements still apply.
For example, 24-hour reporting for:
  12VAC5-590-430 B 3 d – “If any MPA result indicated the presence of Giardia lamblia or Cryptosporidium..”
  12VAC5-590-461 B – “If a classified waterworks or water treatment plant is without the required operator…”
  12VAC5-590-530 D – “Turbidity reporting. For a waterworks required to filter for pathogen and turbidity removal…”
  12VAC5-590-530 H – “The owner shall report a Tier 1 violation or situation, as described in 12VAC5-590-540 A 1…”
  12VAC5-590-531 G – “The owner shall report the following incidents… 1) a waterborne disease outbreak that is potentially attributable to that waterworks; 2) chlorine residual of below 0.2 mg/L in the water entering the distribution system…”

## Slide 50: The New Reporting Law
Two-hour reporting required under the new law applies even if the Waterworks Regulations specify a longer reporting time for the event.
If the two-hour reporting requirement does not apply, a waterworks must still comply with the Waterworks Regulations' reporting requirement for that event.
Advice: Even if the two-hour reporting requirement does not apply, determine whether another reporting requirement in the Waterworks Regulations applies.

## Slide 51: Widespread disruption of water service
is a loss of water service affecting any one of the following:
(1) 500 or more service connections for waterworks with 5,000 or more connections;
(2) 10% or more of the waterworks’ service connections for waterworks with 500 to 4,999 service connections;
(3) 50 or more service connections for waterworks with fewer than 500 service connections;
(4) an entire pressure zone, which may include the entire waterworks; or
(5) a congregate care living facility (for example, a hospital, long-term care facility, correctional center, or prison).

## Slide 52: A significant potential to cause a widespread disruption of water service
Means it is reasonably foreseeable that the equipment failure or equipment malfunction may result in a loss of service that qualifies as a “widespread disruption of water service,”
Does not mean a situation where the waterworks effectively addresses an identified equipment failure or equipment malfunction by timely repair or replacement, alternative equipment use, alternative system operation, or other similar response that avoids the potential for any serious adverse effect on human health or widespread disruption of water service.
Notes: Reasonably foreseeable – Waterworks staff should evaluate if the waterworks, with the equipment malfunction or failure, could meet the current and expected water demand.

## Slide 53: Contaminant Release
Any contaminant release is subject to the two-hour reporting requirement.
A “chemical contaminant” is any objectionable or hazardous substance. The substance does not have to be a regulated chemical or cause harm to qualify as a “chemical contaminant.”
Includes release of a chemical contaminant, petroleum, or synthetic oil by the waterworks that occurs inside a water treatment plant or pump station or in the distribution system, such as a backflow event.
Includes when a chemical contaminant is in the source water and passes through the treatment in the finished water, even if some of the contaminant is removed during the treatment process.

## Slide 54: Equipment failure examples*
Mechanical:
Intake structure failure
Pump failure
Pipe break**
Chemical feed system failure (disinfectant, oxidizer, coagulant)
Well collapse
Tank rupture
Mixer failure
Blower failure
Treatment unit failure
Electrical:
• Transformer failure
• Switch failure
• Fuse failure
• Motor failure
• UV system failure
• Power supply (internal to waterworks) failure
• Generator failure
*This is not an exclusive list.
**With a Boil Water Advisory

## Slide 55: Equipment failure examples*
Control:
• Programmable Logic Controller (PLC) failure
• Supervisory Control and Data Acquisition (SCADA) failure
• Computer or software failure
• Control panel failure
• Sensor or instrument failure
*This is not an exclusive list.

## Slide 56: Consumer Confidence Report Rule( CCR3) Revisions (Effective 2027)
Community Water Systems (CWSs) ≥ 10,000 people:
Two Consumer Confidence Reports (CCRs) per year:
  First CCR: Due by July 1st – covers full previous calendar year.
  Second CCR: Due by December 31st – provides updated annual summary.
    Must include a 6-month update if:
      There were violations,
      Action level exceedances, or
      UCMR results were received.
CWSs < 10,000 people:
One CCR per year – due by July 1st.

## Slide 57: Other Rules
EPA is working on:
Microbial and Disinfection ByProducts Rule – Draft due in 2027
Chromium (Total/Hexavalent Chromium) –
  Final human health assessment for chromium-6
  Determine if a new drinking water regulation or revision to current standard is warranted
Perchlorate
  Proposed National Primary Drinking Water Regulation – 11/21/2025
  Final Regulation - 5/21/2027
Fluoride
  EPA’s Fourth Six-Year Review -June 23, 2024 - EPA decided not to revise any regulations, including fluoride
  September 2024 – Court ruled fluoridation is an “unreasonable risk” to children’s health
  April 7 – EPA announces review of fluoride health effects

## Slide 58: QUESTIONS ??
Bailey Davis
Bailey.Davis@vdh.virginia.gov
Robert D. Edelman, PE
Robert.Edelman@vdh.virginia.gov (804) 864-7490